## Commodities
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
* description
NRG | ELCBGA | Electricity sector landfill bio gas | PJ
| ELCBMS | Electricity sector biomass / wood and non fossil waste | PJ
| ELCCOA | Electricity sector coal and fossil waste | PJ
| ELCDST | Electricity sector distillate | PJ
| ELCGEO | Electricity sector geothermal | PJ
| ELCHVO | Electricity sector Hydrotreaded Vegetable Oil | PJ
| ELCWAT | Electricity sector water | PJ
| ELCMSW | Electricity sector municipal solid waste | PJ
| ELCNGA | Electricity sector natural gas | PJ
| ELCNUC | Electricity sector nuclear | PJ
| ELCPEA | Electricity sector peat | PJ
| ELCRFO | Electricity sector Residual Fuel Oil/Residual Low Sulfur | PJ
| ELCSPV | Electricity sector solar PV/ solar thermal | PJ
| ELCSTH | Electricity sector solar solar thermal | PJ
| ELCWNF | Electricity sector wind offshore | PJ
| ELCWNO | Electricity sector wind onshore | PJ
| EWNO | Electricity from wind onshore | PJ |  | Daynite
| EWNF | Electricity from wind offshore | PJ |  | Daynite
| ESPV | Electricity from solar PV | PJ |  | Daynite
| ELCA | Electricity AutoProduction | PJ |  | Daynite |  | ELC
| ELCB | Electricity Behind the Metre | PJ |  | Daynite |  | ELC
| ELCC | Electricity centralised transmission | PJ |  | Daynite |  | ELC
| ELCD | Electricity centralised distribution | PJ |  | Daynite |  | ELC
ENV | ELCCO2N | Electricity sector CO2 - Combustion Based Emission | kt
| ELCCO2P | Electricity sector CO2 - Process Based Emissions | kt
| ELCCO2S | Electricity sector CO2 - Sequestered | kt
| ELCCH4 | Electricity sector CH4 emissions | kt
| ELCSO2 | Electricity sector SO2 emissions | kt
| ELCNOX | Electricity sector NOX emissions | kt
| ELCPM10 | Electricity sector Particulate Matter <10 µm emissions | kt
| ELCPM25 | Electricity sector Particulate Matter <2.5 µm emissions | kt

## Emi
~COMEMI
CommName | *Unit | ELCPEA | ELCCOA | ELCNGA | ELCDST | ELCNUC | ELCBSL | ELCMSW | ELCWAT | ELCWNO | ELCWNF | ELCGEO | ELCSTH | ELCSPV | ELCRFO
*
ELCCO2N | kt/PJ | 108 | 99 | 56.1 | 74.1 |  |  | 56.1 | [6 empty] | 74.1
ELCCO2P
ELCCH4
ELCSO2
ELCNOX
ELCPM10
ELCPM25

## SCA-Processes
~FI_Process | [6 empty] | ~FI_T
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | TechName | Comm-IN | Comm-OUT | Other_Indexes | ACT_EFF | NCAP_TLIFE
* | [6 empty] | *
PRE | SCA-ELCWNF | Electricity sector wind offshore supply | PJ | PJa |  |  | SCA-ELCWNF | WNF | ELCWNF | ACT | 1 | 100
PRE | SCA-ELCRFO | Electricity sector Residual Fuel Oil/Residual Low Sulfur supply | PJ | PJa |  |  | SCA-ELCRFO | RFO | ELCRFO | ACT | 1 | 100
PRE | SCA-ELCSPV | Electricity sector solar PV/ solar thermal supply | PJ | PJa |  |  | SCA-ELCSPV | SPV | ELCSPV | ACT | 1 | 100
PRE | SCA-ELCNGA | Electricity sector natural gas supply | PJ | PJa |  |  | SCA-ELCNGA | NGA | ELCNGA | ACT | 1 | 100
PRE | SCA-ELCBGA | Electricity sector landfill bio gas supply | PJ | PJa |  |  | SCA-ELCBGA | BGA | ELCBGA | ACT | 1 | 100
PRE | SCA-ELCMSW | Electricity sector municipal solid waste supply | PJ | PJa |  |  | SCA-ELCMSW | MSW | ELCMSW | ACT | 1 | 100
PRE | SCA-ELCNUC | Electricity sector nuclear supply | PJ | PJa |  |  | SCA-ELCNUC | NUC | ELCNUC | ACT | 1 | 100
PRE | SCA-ELCBMS | Electricity sector biomass / wood and non fossil waste supply | PJ | PJa |  |  | SCA-ELCBMS | BMS | ELCBMS | ACT | 1 | 100
PRE | SCA-ELCDST | Electricity sector distillate supply | PJ | PJa |  |  | SCA-ELCDST | DST | ELCDST | ACT | 1 | 100
PRE | SCA-ELCWAT | Electricity sector water supply | PJ | PJa |  |  | SCA-ELCWAT | WAT | ELCWAT | ACT | 1 | 100
PRE | SCA-ELCPEA | Electricity sector peat supply | PJ | PJa |  |  | SCA-ELCPEA | PEA | ELCPEA | ACT | 1 | 100
PRE | SCA-ELCSTH | Electricity sector solar solar thermal supply | PJ | PJa |  |  | SCA-ELCSTH | STH | ELCSTH | ACT | 1 | 100
PRE | SCT-VRE2ELCC | Electricity sector VRE to ELCC | PJ | PJa | Daynite |  | SCT-VRE2ELCC | EWNO,EWNF,ESPV | ELCC | ACT | 1 | 100

## WAT
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | other_indexes | NCAP_PASTI | NCAP_AFA | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  |  | Availability factor | Years |  |  | Efficiency
ELE | IE | E-WAT-AA1 | ELE-Ardnacrusha 1 | PJ | GW | DAYNITE |  | IE | E-WAT-AA1 | ELCWAT | ELCC | 1929 | ACT | 0.021 | 0.44535 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-AA2 | ELE-Ardnacrusha 2 | PJ | GW | DAYNITE |  | IE | E-WAT-AA2 | ELCWAT | ELCC | 1929 | ACT | 0.022 | 0.44645 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-AA3 | ELE-Ardnacrusha 3 | PJ | GW | DAYNITE |  | IE | E-WAT-AA3 | ELCWAT | ELCC | 1929 | ACT | 0.019 | 0.44224 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-AA4 | ELE-Ardnacrusha 4 | PJ | GW | DAYNITE |  | IE | E-WAT-AA4 | ELCWAT | ELCC | 1929 | ACT | 0.024 | 0.44786 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-ER1 | ELE-Erne 1 | PJ | GW | DAYNITE |  | IE | E-WAT-ER1 | ELCWAT | ELCC | 1950 | ACT | 0.01 | 0.4681 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-ER2 | ELE-Erne 2 | PJ | GW | DAYNITE |  | IE | E-WAT-ER2 | ELCWAT | ELCC | 1950 | ACT | 0.01 | 0.43283 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-ER3 | ELE-Erne 3 | PJ | GW | DAYNITE |  | IE | E-WAT-ER3 | ELCWAT | ELCC | 1950 | ACT | 0.0225 | 0.4677 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-ER4 | ELE-Erne 4 | PJ | GW | DAYNITE |  | IE | E-WAT-ER4 | ELCWAT | ELCC | 1950 | ACT | 0.0225 | 0.40213 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LE1 | ELE-Lee 1 | PJ | GW | DAYNITE |  | IE | E-WAT-LE1 | ELCWAT | ELCC | 1957 | ACT | 0.015 | 0.33 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LE2 | ELE-Lee 2 | PJ | GW | DAYNITE |  | IE | E-WAT-LE2 | ELCWAT | ELCC | 1957 | ACT | 0.004 | 0.33 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LE3 | ELE-Lee 3 | PJ | GW | DAYNITE |  | IE | E-WAT-LE3 | ELCWAT | ELCC | 1957 | ACT | 0.008 | 0.33 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LI1 | ELE-Liffey 1 | PJ | GW | DAYNITE |  | IE | E-WAT-LI1 | ELCWAT | ELCC | 1938 | ACT | 0.015 | 0.10511 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LI2 | ELE-Liffey 2 | PJ | GW | DAYNITE |  | IE | E-WAT-LI2 | ELCWAT | ELCC | 1938 | ACT | 0.015 | 0.10378 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LI4 | ELE-Liffey 4 | PJ | GW | DAYNITE |  | IE | E-WAT-LI4 | ELCWAT | ELCC | 1938 | ACT | 0.004 | 0.10583 | 150 | 31.536 | 2 | 1
ELE | IE | E-WAT-LI5 | ELE-Liffey 5 | PJ | GW | DAYNITE |  | IE | E-WAT-LI5 | ELCWAT | ELCC | 1938 | ACT | 0.004 | 0.10623 | 150 | 31.536 | 2 | 1

## WIN
~FI_Process | [7 empty] | ~FI_T | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | NCAP_TLIFE | ACT_EFF | PRC_CAPACT | NCAP_BND~0 | Region | TechName | YEAR | NCAP_PASTI | NCAP_BND~0
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity | Years | Efficiency |  |  | * | *Technology Name |  | GW
ELE | IE | E-WON | ELE-WindOnshore | PJ | GW | ANNUAL |  | IE | E-WON | ELCWNO | EWNO | 25 | 1 | 31.536 | 2 | IE | E-WOF | 2003 | 0.025 | 2
ELE | IE | E-WOF | ELC-Wind Offshore | PJ | GW | ANNUAL |  | IE | E-WOF | ELCWNO | EWNO | 25 | 1 | 31.536 | 2 | IE | E-WON | 1992 | 0.0065 | 2
ELE | NI | E-WON | ELE-WindOnshore | PJ | GW | ANNUAL |  | NI | E-WON | ELCWNO | EWNO | 25 | 1 | 31.536 | 2 |  |  | 1997 | 0.0507 | 2
[18 empty] | 1998 | 0.005 | 2
[18 empty] | 1999 | 0.008 | 2
[18 empty] | 2000 | 0.0463 | 2
[18 empty] | 2001 | 0.0064 | 2
[18 empty] | 2002 | 0.0119 | 2
[18 empty] | 2003 | 0.0781 | 2
[18 empty] | 2004 | 0.1235 | 2
[18 empty] | 2005 | 0.1569 | 2
[18 empty] | 2006 | 0.1832 | 2
[18 empty] | 2007 | 0.064 | 2
[18 empty] | 2008 | 0.2049 | 2
[18 empty] | 2009 | 0.3255 | 2
[18 empty] | 2010 | 0.1295 | 2
[18 empty] | 2011 | 0.2206 | 2
[18 empty] | 2012 | 0.1279 | 2
[18 empty] | 2013 | 0.1755 | 2
[18 empty] | 2014 | 0.3432 | 2
[18 empty] | 2015 | 0.1799 | 2
[18 empty] | 2016 | 0.3477 | 2
[18 empty] | 2017 | 0.5076 | 2
[18 empty] | 2018 | 0.3468 | 2
[18 empty] | 2019 | 0.4457 | 2
[18 empty] | 2020 | 0.2101 | 2
[18 empty] | 2021 | 0.0093 | 2
[18 empty] | 2022 | 0.1953 | 2
[18 empty] | 2023 | 0.2034 | 2
[18 empty] | 2024 | 0.2027 | 2
[16 empty] | NI | E-WON | 2010 | 0.0736 | 2
[18 empty] | 2016 | 0.0475 | 2
[18 empty] | 2024 | 1.2659 | 2

## SPV
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | Other_Indexes | NCAP_PASTI | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  |  | Years |  |  | Efficiency
ELE | IE | E_SPV_TG307 | Harristown Solar PV | PJ | GW | DAYNITE |  | IE | E_SPV_TG307 | ELCSPV | ESPV | 2018 | ACT | 0.0423 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG284 | Monatooreen Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG284 | ELCSPV | ESPV | 2018 | ACT | 0.0257 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG299 | Ballinknockane Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG299 | ELCSPV | ESPV | 2018 | ACT | 0.05 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG275 | Banemore Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG275 | ELCSPV | ESPV | 2018 | ACT | 0.034 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG280 | Shantallow Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG280 | ELCSPV | ESPV | 2018 | ACT | 0.035 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG322 | Drombeg Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG322 | ELCSPV | ESPV | 2018 | ACT | 0.05 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG282 | East Laois Solar Farm (formerly Loughteague) | PJ | GW | DAYNITE |  | IE | E_SPV_TG282 | ELCSPV | ESPV | 2018 | ACT | 0.055 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG328 | Gaskinstown Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG328 | ELCSPV | ESPV | 2020 | ACT | 0.085 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG289 | Blackwater Bog Solar Farm 1 | PJ | GW | DAYNITE |  | IE | E_SPV_TG289 | ELCSPV | ESPV | 2020 | ACT | 0.065 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG315 | Clonfad Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG315 | ELCSPV | ESPV | 2020 | ACT | 0.1 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG270 | Glen Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG270 | ELCSPV | ESPV | 2020 | ACT | 0.04 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG423 | Clondardis Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG423 | ELCSPV | ESPV | 2022 | ACT | 0.0586 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG434 | Clonin North Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG434 | ELCSPV | ESPV | 2022 | ACT | 0.047 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG444 | Coumaclovane Solar Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG444 | ELCSPV | ESPV | 2022 | ACT | 0.007 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG433 | Erkina Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG433 | ELCSPV | ESPV | 2022 | ACT | 0.0666 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG416 | Ballinrea Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG416 | ELCSPV | ESPV | 2022 | ACT | 0.055 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG468 | Erkina Solar Park - Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG468 | ELCSPV | ESPV | 2022 | ACT | 0.09 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG489 | Ballymoneen Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG489 | ELCSPV | ESPV | 2023 | ACT | 0.1 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG488 | Barnacurragh Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG488 | ELCSPV | ESPV | 2023 | ACT | 0.05 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG466 | Garreenleen Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG466 | ELCSPV | ESPV | 2023 | ACT | 0.081 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG490 | Manusmore Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG490 | ELCSPV | ESPV | 2023 | ACT | 0.06 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG461 | East Laois Solar Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG461 | ELCSPV | ESPV | 2023 | ACT | 0.025 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG448 | Fieldstown Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG448 | ELCSPV | ESPV | 2023 | ACT | 0.075 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG458 | Ballyvatta Solar Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG458 | ELCSPV | ESPV | 2023 | ACT | 0.0163 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG469 | Ballyroe Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG469 | ELCSPV | ESPV | 2023 | ACT | 0.12 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG484 | Garballagh2 Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG484 | ELCSPV | ESPV | 2023 | ACT | 0.048 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG553 | Rathlockstown Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG553 | ELCSPV | ESPV | 2023 | ACT | 0.0189 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG442 | Carragraigue Solar Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG442 | ELCSPV | ESPV | 2024 | ACT | 0.0115 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG424 | Ballycore Solar (formerly Middleton) | PJ | GW | DAYNITE |  | IE | E_SPV_TG424 | ELCSPV | ESPV | 2024 | ACT | 0.0566 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG526 | Taduff Solar Park | PJ | GW | DAYNITE |  | IE | E_SPV_TG526 | ELCSPV | ESPV | 2024 | ACT | 0.08 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG510 | Drombeg Solar Park Phase II | PJ | GW | DAYNITE |  | IE | E_SPV_TG510 | ELCSPV | ESPV | 2024 | ACT | 0.044 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG549 | Lysaghtstown PH2 | PJ | GW | DAYNITE |  | IE | E_SPV_TG549 | ELCSPV | ESPV | 2024 | ACT | 0.045 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG533 | Milltown Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG533 | ELCSPV | ESPV | 2024 | ACT | 0.115 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG524 | Ballyteige Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG524 | ELCSPV | ESPV | 2024 | ACT | 0.09 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG539 | Old Court Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG539 | ELCSPV | ESPV | 2024 | ACT | 0.09 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG530 | Fieldstown Solar Farm Ext | PJ | GW | DAYNITE |  | IE | E_SPV_TG530 | ELCSPV | ESPV | 2024 | ACT | 0.0183 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG543 | Barnaleen Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG543 | ELCSPV | ESPV | 2024 | ACT | 0.055 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG531 | Gorman Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG531 | ELCSPV | ESPV | 2024 | ACT | 0.046 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG532 | Kilcush Solar Farm (Cushaling) | PJ | GW | DAYNITE |  | IE | E_SPV_TG532 | ELCSPV | ESPV | 2024 | ACT | 0.05 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG537 | Killoran Solar PV Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG537 | ELCSPV | ESPV | 2024 | ACT | 0.076 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG588 | Ballyroe Solar Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG588 | ELCSPV | ESPV | 2024 | ACT | 0.045 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG599 | Ballyvalode Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG599 | ELCSPV | ESPV | 2024 | ACT | 0.113 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG605 | Clondardis Solar Extension | PJ | GW | DAYNITE |  | IE | E_SPV_TG605 | ELCSPV | ESPV | 2024 | ACT | 0.0114 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG584 | Drumlivaun Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG584 | ELCSPV | ESPV | 2024 | ACT | 0.128 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG583 | Mill Farm Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG583 | ELCSPV | ESPV | 2024 | ACT | 0.063 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG587 | Garreenleen Solar Farm Phase 2 | PJ | GW | DAYNITE |  | IE | E_SPV_TG587 | ELCSPV | ESPV | 2024 | ACT | 0.082 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG559 | Reask Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG559 | ELCSPV | ESPV | 2024 | ACT | 0.055 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG565 | Grangeford Solar PV | PJ | GW | DAYNITE |  | IE | E_SPV_TG565 | ELCSPV | ESPV | 2024 | ACT | 0.048 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG603 | Modelligo Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG603 | ELCSPV | ESPV | 2025 | ACT | 0.08 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG610 | Ballyglass Solar Farm | PJ | GW | DAYNITE |  | IE | E_SPV_TG610 | ELCSPV | ESPV | 2025 | ACT | 0.08 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG608 | Barnaleen Solar Phase 2 | PJ | GW | DAYNITE |  | IE | E_SPV_TG608 | ELCSPV | ESPV | 2025 | ACT | 0.035 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG594 | Fieldstown Extension 2 | PJ | GW | DAYNITE |  | IE | E_SPV_TG594 | ELCSPV | ESPV | 2025 | ACT | 0.06 | 25 | 31.536 | 2 | 1
ELE | IE | E_SPV_TG600 | Kilcormac Solar | PJ | GW | DAYNITE |  | IE | E_SPV_TG600 | ELCSPV | ESPV | 2025 | ACT | 0.125 | 25 | 31.536 | 2 | 1

## BMS
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | Other_indexes | NCAP_PASTI | NCAP_AFA | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  | GW | Availability factor | Years |  |  | Efficiency
ELE | IE | E-BMS-ED1 | ELE-Edenderry | PJ | GW | DAYNITE |  | IE | E-BMS-ED1 | ELCBMS | ELCC | 2000 | ACT | 0.118 | 0.886 | 35 | 31.536 | 2 | 0.3
ELE | NI | E-BMS-Lisahally | ELE-Lisahally / Maydown | PJ | GW | DAYNITE |  | NI | E-BMS-Lisahally | ELCBMS | ELCC | 1984 | ACT | 0.0176 | 0.886 | 65 | 31.536 | 2 | 0.3

## MSW
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | Other_indexes | NCAP_PASTI | NCAP_AFA | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  |  | Availability factor | Years |  |  | Efficiency
ELE | IE | E-MSW-Dublin | ELE-Dublin | PJ | GW | DAYNITE |  | IE | E-MSW-Dublin | ELCMSW | ELCC | 2014 | ACT | 0.061 | 0.886 | 35 | 31.536 | 2 | 0.33
ELE | IE | E-MSW-IW1 | ELE-Indaver Energy Limited | PJ | GW | DAYNITE |  | IE | E-MSW-IW1 | ELCMSW | ELCC | 2011 | ACT | 0.019 | 0.886 | 55 | 31.536 | 2 | 0.33

## HVO
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | Other_indexes | NCAP_PASTI | NCAP_AFA | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  |  | Availability factor | Years |  |  | Efficiency
ELE | IE | E-HVO-ED3 | ELE-Cushaling - HVO 25-29 | PJ | GW | DAYNITE |  | IE | E-HVO-ED3 | ELCHVO | ELCC | 2024 | ACT | 0.058 | 0.941 | 35 | 31.536 | 2 | 0.33
ELE | IE | E-HVO-ED5 | ELE-Cushaling - HVO 25-29 | PJ | GW | DAYNITE |  | IE | E-HVO-ED5 | ELCHVO | ELCC | 2025 | ACT | 0.058 | 0.941 | 35 | 31.536 | 2 | 0.33
ELE | IE | E-HVO-PL1 | ELE-Platin | PJ | GW | DAYNITE |  | IE | E-HVO-PL1 | ELCHVO | ELCC | 2025 | ACT | 0.157 | 0.941 | 35 | 31.536 | 2 | 0.33
ELE | IE | E-HVO-TB5 | ELE-Tarbert Unit 5 | PJ | GW | DAYNITE |  | IE | E-HVO-TB5 | ELCHVO | ELCC | 2027 | ACT | 0.3 | 0.941 | 35 | 31.536 | 2 | 0.33
ELE | NI | E-HVO-PH7 | ELE-PH7 | PJ | GW | DAYNITE |  | NI | E-HVO-PH7 | ELCHVO | ELCC | 2027 | ACT | 0.02 | 0.941 | 35 | 31.536 | 2 | 0.33

## NGA
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | Comm-IN | Comm-OUT | TechName | YEAR | NCAP_TLIFE | NCAP_PASTI | ACT_EFF | NCAP_AFA | PRC_CAPACT | NCAP_BND~0 | Other_Indexes
* | [7 empty] | *Region Name | Input Commodity | Output Commodity | Technology Name |  | Years |  | Efficiency | Availability factor
ELE | IE | E-NGA-ADC | ELE-Aghada CCGT | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-ADC | 2010 | 30 | 0.449 | 0.51 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-AT1 | ELE-Aghada CT 1 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-AT1 | 1980 | 30 | 0.09 | 0.33 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-AT2 | ELE-Aghada CT 2 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-AT2 | 1980 | 30 | 0.09 | 0.33 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-AT4 | ELE-Aghada CT 4 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-AT4 | 1980 | 30 | 0.09 | 0.33 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Castlelost 1 | ELE-Castlelost Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Castlelost 1 | 2025 | 35 | 0.055 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Castlelost 2 | ELE-Castlelost Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Castlelost 2 | 2025 | 35 | 0.055 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Castlelost 3 | ELE-Castlelost Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Castlelost 3 | 2025 | 35 | 0.055 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Castlelost 4 | ELE-Castlelost Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Castlelost 4 | 2025 | 35 | 0.055 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Castlelost 5 | ELE-Castlelost Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Castlelost 5 | 2025 | 35 | 0.055 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-FG2 | ELE-Corduff Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-FG2 | 2024 | 35 | 0.065 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-ED3 | ELE-Cushaling - Gas from 2029 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-ED3 | 2029 | 35 | 0.058 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-ED5 | ELE-Cushaling - Gas from 2029 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-ED5 | 2029 | 35 | 0.058 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Data Hub 1 | ELE-Data and Power Hub 1 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Data Hub 1 | 2027 | 30 | 0.0178 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Data Hub 2 | ELE-Data and Power Hub 2 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Data Hub 2 | 2027 | 30 | 0.0178 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Data Hub 3 | ELE-Data and Power Hub 3 | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Data Hub 3 | 2027 | 30 | 0.0178 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-DB1 | ELE-Dublin Bay CCGT | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-DB1 | 2002 | 30 | 0.415 | 0.52 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GAP 1 | ELE-GIL Athlone Park – Cuilleen Power | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GAP 1 | 2025 | 35 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GAP 2 | ELE-GIL Athlone Park – Cuilleen Power | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GAP 2 | 2025 | 35 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GAP 3 | ELE-GIL Athlone Park – Cuilleen Power | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GAP 3 | 2025 | 35 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GAP 4 | ELE-GIL Athlone Park – Cuilleen Power | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GAP 4 | 2025 | 35 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GAP 5 | ELE-GIL Athlone Park – Cuilleen Power | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GAP 5 | 2014 | 30 | 0.02 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GPP 1 | ELE-GIL Profile Park | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GPP 1 | 2025 | 30 | 0.02 | 0.55 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GPP 2 | ELE-GIL Profile Park | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GPP 2 | 2025 | 30 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GPP 3 | ELE-GIL Profile Park | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GPP 3 | 2025 | 30 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GPP 4 | ELE-GIL Profile Park | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GPP 4 | 2025 | 30 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GPP 5 | ELE-GIL Profile Park | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GPP 5 | 2025 | 30 | 0.02 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-GI CCGT | ELE-Great Island CCGT | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-GI CCGT | 2014 | 30 | 0.464 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-HNC | ELE-Huntstown | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-HNC | 2002 | 30 | 0.343 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-HN2 | ELE-Huntstown Phase II | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-HN2 | 2007 | 30 | 0.404 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Knockfinglas B | ELE-Knockfinglas CCGT | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Knockfinglas B | 2028 | 30 | 0.2 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Knockfinglas A | ELE-Knockfinglas CCGT | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Knockfinglas A | 2028 | 30 | 0.2 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-PBA | ELE-Poolbeg C_A | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-PBA | 2000 | 30 | 0.232 | 0.5 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-PBB | ELE-Poolbeg C_B | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-PBB | 2000 | 30 | 0.232 | 0.5 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-PB7 | ELE-Poolbeg Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-PB7 | 2024 | 35 | 0.065 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-Poolbeg OCGT | ELE-Poolbeg OCGT | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-Poolbeg OCGT | 2027 | 35 | 0.299 | 0.5 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-RS1 | ELE-Ringsend Flexgen | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-RS1 | 2024 | 35 | 0.065 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-SK3 | ELE-Sealrock 3 (Aughinish CHP) | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-SK3 | 2005 | 35 | 0.081 | 0.53 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-SK4 | ELE-Sealrock 4 (Aughinish CHP) | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-SK4 | 2005 | 35 | 0.081 | 0.53 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-TY | ELE-Tynagh | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-TY | 2006 | 30 | 0.389 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | IE | E-NGA-WG | ELE-Whitegate | PJ | GW | DAYNITE |  | IE | ELCNGA | ELCC | E-NGA-WG | 2010 | 30 | 0.45 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-B10 | ELE-Ballylumford CCGT Unit 10 | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-B10 | 2003 | 35 | 0.101 | 0.33 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-B31 | ELE-Ballylumford CCGT Unit 31 | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-B31 | 2003 | 35 | 0.246 | 0.52 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-B32 | ELE-Ballylumford CCGT Unit 32 | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-B32 | 2003 | 35 | 0.246 | 0.52 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-Contour AGU | ELE-Contour Global Agg Unit | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-Contour AGU | 2010 | 35 | 0.012084 | 0.33 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-CPS CCGT | ELE-Coolkeeragh CCGT | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-CPS CCGT | 2005 | 35 | 0.408 | 0.54 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-KGT6 | ELE-Kilroot GT6 | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-KGT6 | 1978 | 35 | 0.345 | 0.33 | 0.936 | 31.536 | 2 | ACT
ELE | NI | E-NGA-KGT7 | ELE-Kilroot GT7 | PJ | GW | DAYNITE |  | NI | ELCNGA | ELCC | E-NGA-KGT7 | 1978 | 35 | 0.345 | 0.33 | 0.936 | 31.536 | 2 | ACT

## DST
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | NCAP_TLIFE | Other_indexes | NCAP_PASTI | NCAP_AFA | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  | Years |  |  | Availability factor |  |  | Efficiency
ELE | IE | E-DST-ED3 | ELE-Cushaling | PJ | GW | DAYNITE |  | IE | E-DST-ED3 | ELCDST | ELCC | 2010 | 30 | ACT | 0.058 | 0.941 | 31.536 | 2 | 0.33
ELE | IE | E-DST-ED5 | ELE-Cushaling | PJ | GW | DAYNITE |  | IE | E-DST-ED5 | ELCDST | ELCC | 2010 | 30 | ACT | 0.058 | 0.941 | 31.536 | 2 | 0.33
ELE | IE | E-DST-Grange 1 | ELE-Grange Backup Power Limited Gas Engine 1 | PJ | GW | DAYNITE |  | IE | E-DST-Grange 1 | ELCDST | ELCC | 2025 | 30 | ACT | 0.018541 | 0.936 | 31.536 | 2 | 0.33
ELE | IE | E-DST-Grange 2 | ELE-Grange Backup Power Limited Gas Engine 2 | PJ | GW | DAYNITE |  | IE | E-DST-Grange 2 | ELCDST | ELCC | 2025 | 30 | ACT | 0.018541 | 0.936 | 31.536 | 2 | 0.33
ELE | IE | E-DST-Grange 3 | ELE-Grange Backup Power Limited Gas Engine 3 | PJ | GW | DAYNITE |  | IE | E-DST-Grange 3 | ELCDST | ELCC | 2025 | 30 | ACT | 0.018541 | 0.936 | 31.536 | 2 | 0.33
ELE | IE | E-DST-Grange 4 | ELE-Grange Backup Power Limited Gas Engine 4 | PJ | GW | DAYNITE |  | IE | E-DST-Grange 4 | ELCDST | ELCC | 2025 | 30 | ACT | 0.018541 | 0.936 | 31.536 | 2 | 0.33
ELE | IE | E-DST-Grange 5 | ELE-Grange Backup Power Limited Gas Engine 5 | PJ | GW | DAYNITE |  | IE | E-DST-Grange 5 | ELCDST | ELCC | 2025 | 30 | ACT | 0.018541 | 0.936 | 31.536 | 2 | 0.33
ELE | IE | E-DST-Grange 6 | ELE-Grange Backup Power Limited Gas Engine 6 | PJ | GW | DAYNITE |  | IE | E-DST-Grange 6 | ELCDST | ELCC | 2025 | 30 | ACT | 0.018541 | 0.936 | 31.536 | 2 | 0.33
ELE | IE | E-DST-RH1 | ELE-Rhode 1 | PJ | GW | DAYNITE |  | IE | E-DST-RH1 | ELCDST | ELCC | 2004 | 30 | ACT | 0.052 | 0.941 | 31.536 | 2 | 0.33
ELE | IE | E-DST-RH2 | ELE-Rhode 2 | PJ | GW | DAYNITE |  | IE | E-DST-RH2 | ELCDST | ELCC | 2004 | 30 | ACT | 0.052 | 0.941 | 31.536 | 2 | 0.33
ELE | IE | E-DST-TP1 | ELE-Tawnaghmore 1 | PJ | GW | DAYNITE |  | IE | E-DST-TP1 | ELCDST | ELCC | 2003 | 30 | ACT | 0.052 | 0.941 | 31.536 | 2 | 0.33
ELE | IE | E-DST-TP3 | ELE-Tawnaghmore 3 | PJ | GW | DAYNITE |  | IE | E-DST-TP3 | ELCDST | ELCC | 2003 | 30 | ACT | 0.052 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-BGT1 | ELE-Ballylumford GT1 | PJ | GW | DAYNITE |  | NI | E-DST-BGT1 | ELCDST | ELCC | 1976 | 50 | ACT | 0.058 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-BGT2 | ELE-Ballylumford GT2 | PJ | GW | DAYNITE |  | NI | E-DST-BGT2 | ELCDST | ELCC | 1976 | 50 | ACT | 0.058 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-CGT8 | ELE-Coolkeeragh OCGT | PJ | GW | DAYNITE |  | NI | E-DST-CGT8 | ELCDST | ELCC | 2005 | 35 | ACT | 0.053 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-iPower AGU | ELE-iPower AGU | PJ | GW | DAYNITE |  | NI | E-DST-iPower AGU | ELCDST | ELCC | 2011 | 35 | ACT | 0.0626 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-KGT1 | ELE-Kilroot GT1 - Gasoil | PJ | GW | DAYNITE |  | NI | E-DST-KGT1 | ELCDST | ELCC | 2009 | 35 | ACT | 0.029 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-KGT2 | ELE-Kilroot GT2 - Gasoil | PJ | GW | DAYNITE |  | NI | E-DST-KGT2 | ELCDST | ELCC | 2009 | 35 | ACT | 0.029 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-KGT3 | ELE-Kilroot GT3 - Gasoil | PJ | GW | DAYNITE |  | NI | E-DST-KGT3 | ELCDST | ELCC | 2009 | 35 | ACT | 0.042 | 0.941 | 31.536 | 2 | 0.33
ELE | NI | E-DST-KGT4 | ELE-Kilroot GT4 - Gasoil | PJ | GW | DAYNITE |  | NI | E-DST-KGT4 | ELCDST | ELCC | 2009 | 35 | ACT | 0.042 | 0.941 | 31.536 | 2 | 0.33

## RFO
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | Other_indexes | NCAP_PASTI | NCAP_AFA | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  |  | Availability factor | Years |  |  | Efficiency
ELE | IE | E-RFO-MP2 | ELE-Moneypoint 2 | PJ | GW | DAYNITE |  | IE | E-RFO-MP2 | ELCDST | ELCC | 1987 | ACT | 0.25 | 0.9 | 65 | 31.536 | 2 | 0.19277

## COA
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | Other_indexes | NCAP_PASTI | NCAP_AFA | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | ACT_EFF
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  |  |  | Availability factor | Years |  |  | Efficiency
ELE | IE | E-COA-MP1 | ELE-Moneypoint 1 | PJ | GW | DAYNITE |  | IE | E-COA-MP1 | ELCCOA | ELCC | 1987 | ACT | 0.285 | 0.9 | 38 | 31.536 | 2 | 0.3
ELE | IE | E-COA-MP3 | ELE-Moneypoint 3 | PJ | GW | DAYNITE |  | IE | E-COA-MP3 | ELCCOA | ELCC | 1987 | ACT | 0.285 | 0.9 | 38 | 31.536 | 2 | 0.3

## PSTG
~FI_Process | [7 empty] | ~FI_T | [11 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | NCAP_PASTI | S_EFF | AFA | LIFE | PRC_CAPACT | NCAP_BND~0 |  | Region | TechName | Comm-IN | Comm-OUT | Timeslice | NCAP_AFCS
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  | GW | Efficiency |  | Years |  |  |  | *Region Name | Technology Name | Input Commodity | Output Commodity
ELE,STGSTSS | IE | E-WAT-TH1 | ELE-Turlough Hill 1 | PJ | GW | DAYNITE |  | IE | E-WAT-TH1 | ELCC | ELCC | 1974 | 0.073 | 0.75 | 0.17 | 80 | 31.536 | 2 |  | IE | E-WAT-TH1 | ELCC | ELCC | DAYNITE | 1
ELE,STGSTSS | IE | E-WAT-TH2 | ELE-Turlough Hill 2 | PJ | GW | DAYNITE |  | IE | E-WAT-TH2 | ELCC | ELCC | 1974 | 0.073 | 0.75 | 0.16 | 80 | 31.536 | 2 |  | IE | E-WAT-TH2 | ELCC | ELCC | DAYNITE | 1
ELE,STGSTSS | IE | E-WAT-TH3 | ELE-Turlough Hill 3 | PJ | GW | DAYNITE |  | IE | E-WAT-TH3 | ELCC | ELCC | 1974 | 0.073 | 0.75 | 0.16 | 80 | 31.536 | 2 |  | IE | E-WAT-TH3 | ELCC | ELCC | DAYNITE | 1
ELE,STGSTSS | IE | E-WAT-TH4 | ELE-Turlough Hill 4 | PJ | GW | DAYNITE |  | IE | E-WAT-TH4 | ELCC | ELCC | 1974 | 0.073 | 0.75 | 0.15 | 80 | 31.536 | 2 |  | IE | E-WAT-TH4 | ELCC | ELCC | DAYNITE | 1
[20 empty] | IE | E-WAT-TH1 | ELCC | ELCC | WEEKLY | 0.16
[20 empty] | IE | E-WAT-TH2 | ELCC | ELCC | WEEKLY | 0.16
[20 empty] | IE | E-WAT-TH3 | ELCC | ELCC | WEEKLY | 0.16
[20 empty] | IE | E-WAT-TH4 | ELCC | ELCC | WEEKLY | 0.16
[14 empty] | *NCAP_AFC~NRG | NCAP_TLIFE | PRC_CAPACT | STG_EFF | NCAP_AFC | NCAP_BND~0
[14 empty] | GW | Years |  | Efficiency
[14 empty] | 1 | 80 | 31.536 | 0.75 | 0.17 | 2
[14 empty] | 1 | 80 | 31.536 | 0.75 | 0.16 | 2
[14 empty] | 1 | 80 | 31.536 | 0.75 | 0.16 | 2
[14 empty] | 1 | 80 | 31.536 | 0.75 | 0.15 | 2

## BSTG
~FI_Process | [7 empty] | ~FI_T
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Region | TechName | Comm-IN | Comm-OUT | YEAR | NCAP_PASTI | *NCAP_AFC~ACT | NCAP_AFC | NCAP_TLIFE | PRC_CAPACT | NCAP_BND~0 | STG_EFF | NCAP_PASTI
* | [7 empty] | *Region Name | Technology Name | Input Commodity | Output Commodity |  | GW |  |  | Years |  |  | Efficiency | GWh nominal
STG | IE | E-STG-AD3 | ELE-Aghada BESS | PJ | GW | DAYNITE |  | IE | E-STG-AD3 | ELCC | ELCC | 2022 | 0.019 | 0.098039 | 0.083333 | 15 | 31.536 | 2 | 0.85 | 0.038
STG | IE | E-STG-AD4 | ELE-Aghada BESS 2A | PJ | GW | DAYNITE |  | IE | E-STG-AD4 | ELCC | ELCC | 2024 | 0.075 | 0.098039 | 0.083333 | 15 | 31.536 | 2 | 0.85 | 0.15
STG | IE | E-STG-AD5 | ELE-Aghada BESS 2B | PJ | GW | DAYNITE |  | IE | E-STG-AD5 | ELCC | ELCC | 2024 | 0.075 | 0.098039 | 0.083333 | 15 | 31.536 | 2 | 0.85 | 0.15
STG | IE | E-STG-AV1 | ELE-Avonbeg Storage | PJ | GW | DAYNITE |  | IE | E-STG-AV1 | ELCC | ELCC | 2023 | 0.016 | 0.021611 | 0.020833 | 15 | 31.536 | 2 | 0.964 | 0.008
STG | IE | E-STG-Barnesmore | ELE-Barnesmore | PJ | GW | DAYNITE |  | IE | E-STG-Barnesmore | ELCC | ELCC | 2022 | 0.003 | 0.04386 | 0.041667 | 15 | 31.536 | 2 | 0.95 | 0.003
STG | IE | E-STG-Cloncreen | ELE-Cloncreen BESS | PJ | GW | DAYNITE |  | IE | E-STG-Cloncreen | ELCC | ELCC | 2024 | 0.025 | 0.13797 | 0.125 | 15 | 31.536 | 2 | 0.906 | 0.075
STG | NI | E-STG-CSB | ELE-Energia Battery Storage | PJ | GW | DAYNITE |  | NI | E-STG-CSB | ELCC | ELCC | 2022 | 0.05 | 0.04902 | 0.041667 | 15 | 31.536 | 2 | 0.85 | 0.05
STG | IE | E-STG-Cushaling | ELE-Cushaling | PJ | GW | DAYNITE |  | IE | E-STG-Cushaling | ELCC | ELCC | 2025 | 0.0228 | 0.17633 | 0.16447 | 15 | 31.536 | 2 | 0.93274 | 0.09
STG | NI | E-STG-DK1 | ELE-Drumkee | PJ | GW | DAYNITE |  | NI | E-STG-DK1 | ELCC | ELCC | 2021 | 0.05 | 0.01903 | 0.01775 | 15 | 31.536 | 2 | 0.93274 | 0.0213
STG | IE | E-STG-Energy Stability Services | ELE-Energy Stability Services | PJ | GW | DAYNITE |  | IE | E-STG-Energy Stability Services | ELCC | ELCC | 2026 | 0.025 | 0.125 | 0.125 | 15 | 31.536 | 2 | 1 | 0.075
STG | IE | E-STG-GF1 | ELE-Gorman | PJ | GW | DAYNITE |  | IE | E-STG-GF1 | ELCC | ELCC | 2021 | 0.05 | 0.02193 | 0.020833 | 15 | 31.536 | 2 | 0.95 | 0.025
STG | IE | E-STG-GP1 | ELE-Gardnershill | PJ | GW | DAYNITE |  | IE | E-STG-GP1 | ELCC | ELCC | 2021 | 0.0085 | 0.044671 | 0.041667 | 15 | 31.536 | 2 | 0.93274 | 0.0085
STG | IE | E-STG-IH1 | ELE-Kylemore BESS | PJ | GW | DAYNITE |  | IE | E-STG-IH1 | ELCC | ELCC | 2023 | 0.03 | 0.098039 | 0.083333 | 15 | 31.536 | 2 | 0.85 | 0.06
STG | IE | E-STG-IS2 | ELE-South Wall BESS | PJ | GW | DAYNITE |  | IE | E-STG-IS2 | ELCC | ELCC | 2024 | 0.03 | 0.098039 | 0.083333 | 15 | 31.536 | 2 | 0.85 | 0.06
STG | NI | E-STG-KEB | ELE-Kells BES | PJ | GW | DAYNITE |  | NI | E-STG-KEB | ELCC | ELCC | 2022 | 0.05 | 0.0251 | 0.020833 | 15 | 31.536 | 2 | 0.83 | 0.025
STG | IE | E-STG-KF2 | ELE-Killala Battery Project | PJ | GW | DAYNITE |  | IE | E-STG-KF2 | ELCC | ELCC | 2022 | 0.0108 | 0.04529 | 0.041667 | 15 | 31.536 | 2 | 0.92 | 0.0108
STG | IE | E-STG-KZ4 | ELE-Kelwin 4 Battery (Kelwin Phase 2) | PJ | GW | DAYNITE |  | IE | E-STG-KZ4 | ELCC | ELCC | 2021 | 0.0266 | 0.022504 | 0.02099 | 15 | 31.536 | 2 | 0.93274 | 0.0134
STG | IE | E-STG-LF1 | ELE-Lisdrumdoagh Energy Storage Facility | PJ | GW | DAYNITE |  | IE | E-STG-LF1 | ELCC | ELCC | 2022 | 0.06 | 0.025314 | 0.023611 | 15 | 31.536 | 2 | 0.93274 | 0.034
STG | IE | E-STG-LU1 | ELE-Lumcloon BESS A | PJ | GW | DAYNITE |  | IE | E-STG-LU1 | ELCC | ELCC | 2021 | 0.05 | 0.027707 | 0.025 | 15 | 31.536 | 2 | 0.9023 | 0.03
STG | IE | E-STG-LU2 | ELE-Lumcloon BESS A | PJ | GW | DAYNITE |  | IE | E-STG-LU2 | ELCC | ELCC | 2021 | 0.05 | 0.027707 | 0.025 | 15 | 31.536 | 2 | 0.9023 | 0.03
STG | NI | E-STG-MZ1 | ELE-Mullavilly | PJ | GW | DAYNITE |  | NI | E-STG-MZ1 | ELCC | ELCC | 2021 | 0.05 | 0.01903 | 0.01775 | 15 | 31.536 | 2 | 0.93274 | 0.0213
STG | IE | E-STG-OD1 | ELE-Gorey Storage | PJ | GW | DAYNITE |  | IE | E-STG-OD1 | ELCC | ELCC | 2022 | 0.009 | 0.022476 | 0.021667 | 15 | 31.536 | 2 | 0.964 | 0.00468
STG | IE | E-STG-PB8 | ELE-Poolbeg BESS | PJ | GW | DAYNITE |  | IE | E-STG-PB8 | ELCC | ELCC | 2023 | 0.075 | 0.098039 | 0.083333 | 15 | 31.536 | 2 | 0.85 | 0.15
STG | IE | E-STG-PN1 | ELE-Porterstown Battery Phase 1 | PJ | GW | DAYNITE |  | IE | E-STG-PN1 | ELCC | ELCC | 2022 | 0.03 | 0.040204 | 0.0375 | 15 | 31.536 | 2 | 0.93274 | 0.027
STG | IE | E-STG-Shannonbridge B | ELE-Shannonbridge BESS B | PJ | GW | DAYNITE |  | IE | E-STG-Shannonbridge B | ELCC | ELCC | 2025 | 0.0632 | 0.10726 | 0.098892 | 15 | 31.536 | 2 | 0.922 | 0.15
STG | IE | E-STG-SI1 | ELE-Shannonbridge BESS A1 | PJ | GW | DAYNITE |  | IE | E-STG-SI1 | ELCC | ELCC | 2021 | 0.05 | 0.027707 | 0.025 | 15 | 31.536 | 2 | 0.9023 | 0.03
STG | IE | E-STG-SI2 | ELE-Shannonbridge BESS A2 | PJ | GW | DAYNITE |  | IE | E-STG-SI2 | ELCC | ELCC | 2021 | 0.05 | 0.027707 | 0.025 | 15 | 31.536 | 2 | 0.9023 | 0.03
STG | IE | E-STG-XT2 | ELE-BT&2 (Kilathmoy) Battery | PJ | GW | DAYNITE |  | IE | E-STG-XT2 | ELCC | ELCC | 2020 | 0.011 | 0.022985 | 0.021439 | 15 | 31.536 | 2 | 0.93274 | 0.00566
Note on V4: tj2528: NREL ATB, round trip efficiency of battery storage